# Architectural Design Process for ADUs and Sunrooms

## 1. Feasibility & Zoning Review

Before design begins, the architect checks whether the project is allowed.

For an ADU, this includes:

- zoning eligibility

- maximum size limits

- setbacks

- owner-occupancy rules

- parking requirements

For a sunroom addition, key factors include:

- setback compliance

- lot coverage limits

- structural connection to the existing house

Architects review county regulations and sometimes consult the local permitting authority.

Deliverables:

- zoning analysis

- preliminary feasibility study

- rough budget estimate

## 2. Programming (Understanding Client Needs)

This stage defines how the space will function.

For an ADU, typical questions include:

- Who will live there? (family member, tenant, guest)

- Desired layout (studio, 1 bedroom, 2 bedroom)

- Separate entrance or shared?

- Kitchen or kitchenette?

- Laundry?

For a sunroom, questions often include:

- Year-round use or seasonal?

- Glass enclosure vs screened porch

- Heating/cooling needed?

- Connection to kitchen or living room?

Deliverables:

- space program

- rough square footage targets

## 3. Concept / Schematic Design

The architect develops the initial layout and form.

For an ADU, drawings usually include:

- site placement (detached or attached)

- floor plan layout

- exterior style matching the main house

- access path or driveway

For a sunroom, the design focuses on:

- glazing and daylight

- roof form

- structural integration with the existing house

Deliverables:

- schematic floor plans

- site plan

- simple 3D or sketch views

Tools commonly used:

- SketchUp

- Autodesk Revit

## 4. Design Development

The design becomes more detailed.

For ADUs:

- structural system

- insulation and energy compliance

- plumbing and electrical layout

- kitchen and bathroom placement

For sunrooms:

- glazing systems

- roof framing

- HVAC strategy

- drainage and flashing details

Deliverables:

- detailed floor plans

- elevations

- structural coordination

## 5. Construction Documents

The architect prepares the drawings required for permit approval and construction.

Typical ADU or sunroom drawing sets include:

- site plan

- floor plans

- elevations

- building sections

- structural details

- electrical layout

Most firms use BIM drafting software such as:

- Autodesk Revit

- AutoCAD

## 6. Permitting

The architect or contractor submits drawings to the county permitting office.

For projects in Montgomery County this usually goes through the Department of Permitting Services (DPS).

Reviews typically include:

- zoning compliance

- structural review

- energy code compliance

## 7. Contractor Bidding or Selection

For smaller residential projects, homeowners often:

- select a contractor early, or

- request quotes from 2–3 builders.

The architect may help clarify drawings or answer contractor questions.

## 8. Construction & Site Visits

During construction the architect may:

- review framing

- verify layout matches drawings

- answer contractor questions

- approve any design adjustments

# Typical Timeline

| Project | Design + Permit | Construction |
| --- | --- | --- |
| Sunroom | 1–3 months | 1–2 months |
| ADU | 3–6 months | 4–8 months |

# Typical Size Guidelines

| Project | Typical Size |
| --- | --- |
| Sunroom | 150–350 sq ft |
| ADU | 500–1200 sq ft |

ADU size often depends on zoning limits.

# Simplified Workflow

Client idea
↓
Feasibility / zoning check
↓
Concept design
↓
Detailed design
↓
Permit drawings
↓
Construction